PD4600 Converter Replacement Section Specifications

PD4635 PD4645 PD4655 Maximum DC Output Current 35-AMPS 45-AMPS 55-AMPS Maximum Continuous Input Power 550 WATTS 725 WATTS 950 WATTS No Load DC Output Voltage 13.6 VDC 13.6 VDC 13.6 VDC No Load Voltage Tolerance +/- .3 VDC +/- .3 VDC +/- .3 VDC Full Load Output Voltage > 12.6 VDC > 12.6 VDC > 12.6 VDC Ripple and Noise Voltage <50 MV RMS <50 MV RMS <50 MV RMS Input Voltage Tolerance 105 - 130 VAC 105 - 130 VAC 105 - 130 VAC Input Voltage Frequency 50-60 HZ 50-60 HZ 50-60 HZ Peak Inrush Current 32-AMPS 32-AMPS 47-AMPS Efficiency (Typical) > 80% > 80% > 80% Reverse Battery Protection YES YES YES Electronic Current Limiting YES YES YES Cooling Fan Auto-variable speed Auto-variable speed Auto-variable speed Back Up Thermal Protection YES YES YES Storage Temperature 20-80C 20-80C 20-80C Operating Temperature 0-50C 0-50C 0-50C Hipot Voltage Test <-------- 1240 V @ INPUT TERMINALS --------> Over Voltage Protection YES YES YES Under Voltage Protection YES YES YES Full Function Charge Wizard YES YES YES Weight 8 LB. 9 OZ. 8 LB. 9 OZ. 8 LB. 9 OZ. Dimensions 13.375W x 8125D x 5.875H 13.375W x 8125D x 5.875H 13.375W x 8125D x 5.875H Replacement Cross List: Model # Model # Model # WFCO 8935 8945 8955 MAGNATEK 6335 6345 6355 PARALLAX 6335 7345 6355/7355/7155